## one_table
eo3__Equipment_Type__c | Incentive_Cap_Cost__c | Rebate_Bonus_Full_Load__c | Rebate_Bonus_Part_Load__c | Rebate_Calculations_Guidelines__c | Rebate_Step_Qualifier__c | T_I_Electric_Rebate_Max__c | T_I_Electric_Rebate_Min__c | T_I_Gas_Rebate_Max__c | T_I_Gas_Rebate_Min__c | eo3__Available_In_Portal__c | eo3__Cap_Incentive_At_Cost__c | eo3__Cost_Is_All_Inclusive__c | eo3__Effective_Measure_Name__c | eo3__Effective_Sorting_Tag__c | eo3__Hide_Portal_Equipment_Input_Fields__c | eo3__Maximum_Rebate_Currency__c | eo3__Maximum_Rebate_Level__c | eo3__Measure_Class__c | Equipment_Type_Formula__c | Match__c | Proposed_Equipment_Valid_From__c | Proposed_Equipment_Valid_To__c | eo3__Program_Measure_Name__c | AHRI_FLV__c | AHRI_IPLV_Offset__c | AHRI_IPLV__c | AHRI_Offset__c | ARR_Electric__c | ARR_Gas__c | Base_Fan_Eff__c | Base_Motor_Eff__c | CFM_Before__c | CFM_per_Ton__c | COP__c | Central_Air__c | Coincidence_Factor__c | Conversion_Factor__c | Cost__c | EER_Baseline__c | ERV_Base_Cool_Load__c | ERV_Cooling_Eff__c | Equipment_Category__c | Equipment_Specific_Code__c | FL_Efficiency_Baseline__c | HRC_Eff__c | HRC_Load__c | HSPF_Baseline__c | Hours_Heating__c | Hours__c | Incremental_Cost_per_CFM__c | Incremental_Cost_per_Ton__c | Maximum_Size__c | Min_EER__c | Min_FLV_kW__c | Min_IPLV_kW__c | Min_Qualifying_HSPF__c | Min_SEER__c | Minimum_Size__c | PL_Efficiency_Baseline__c | Proposed_kW__c | Quantity__c | SEER_Baseline__c | SEER_Max__c | Size_Max__c | Size_Min__c | State__c | VFD_Efficiency__c | eo3__Equipment_Type__c.1 | iCoef0__c | iCoef1__c | iCoef2__c | iCoef3__c | kW_Baseline__c | RecordTypeId | eo3__Component_Type__c | eo3__Eligible_Equipment_Type_1__c | eo3__Friendly_Name__c | eo3__Measure_Type__c | eo3__Size_Units__c | eo3__Use_Climate_Vintage__c | eo3__Use_Model_specific_Savings__c | eo3__Uses_Custom_Calculation_Parameters__c | eo3__Utility_Measure_Code__c | Lifetime__c_el_eq_mod__eq_mod | Lifetime__c_nw_eq__prd_meas | Measure_Type_Formula__c_nw_eq | Measure_Type_Formula__c_prd_meas | PMA_Name | eo3__Valid_From__c_el_eq_mod__eq_mod | eo3__Valid_From__c_nw_eq__prd_meas | eo3__Valid_To__c_el_eq_mod__eq_mod | eo3__Valid_To__c_nw_eq__prd_meas
MN - RTUS < 5.42 tons |  |  | 3 | <img alt="User-added image" src="/servlet/servlet.ImageServer?id=01518000000swbn&amp;oid=00D180000002NKL"></img> | 0.1 | 0 | 0 | 0 | 0 | FALSE | TRUE | FALSE | DX Units < 5.42 Tons | DX Units < 5.42 Tons | FALSE | 50 | 100 | Subcontractor Reported | Cool EER-SEER | FALSE | 2017-01-01 | 2029-12-31 | DX Units < 5.42 Tons | [11 empty] | FALSE | 0.9 | 0.85 |  | 11.05 |  |  | RTUS | XX | [7 empty] | 230 |  | 11.05 |  |  |  | 13.7 |  |  |  |  | 13 |  | 5.42 | 0 | MN | 0 | Cool EER-SEER | [5 empty] | 012U00000005Fg4IAE | Cool SEER - MN | Cool EER-SEER | DX Units < 5.42 Tons | Subcontractor Reported |  | FALSE | FALSE | TRUE | a20U0000000CkoXIAS | 20 | 20 | Cool SEER - MN | Cool SEER - MN | PMA-053712 | 2017-01-01 | 2017-01-01 | 2029-12-31 | 2029-12-31
MN - RTUS - 5.42 - 11.24 tons |  | 4 | 3 | <img alt="User-added image" src="/servlet/servlet.ImageServer?id=01518000000swbn&amp;oid=00D180000002NKL"></img> | 0.1 | 0 | 0 | 0 | 0 | FALSE | TRUE | FALSE | DX Units >= 5.42 Tons | DX Units >= 5.42 Tons | FALSE | 50 | 100 | Subcontractor Reported | Cool EER-SEER | TRUE | 2017-01-01 | 2020-12-31 | DX Units >= 5.42 Tons | [11 empty] | FALSE | 0.9 |  |  | 11 |  |  | RTUS | XX | [7 empty] | 380 |  | 11.3 |  |  |  | 12.2 |  |  |  |  | 11.2 |  | 11.25 | 5.42 | MN | 0 | Cool EER-SEER | [5 empty] | 012U00000005Fg4IAE | Cool EER-SEER |  | DX Units >= 5.42 Tons | Subcontractor Reported |  | FALSE | FALSE | TRUE | a20U0000000CkoXIAS | 20 | 20 | Cool EER-SEER | Cool EER-SEER | PMA-053762 | 2017-01-01 | 2017-01-01 | 2029-12-31 | 2020-12-31
MN - RTUS - 11.25 - 19.99 tons |  | 4 | 3 | <img alt="User-added image" src="/servlet/servlet.ImageServer?id=01518000000swbn&amp;oid=00D180000002NKL"></img> | 0.1 | 0 | 0 | 0 | 0 | FALSE | TRUE | FALSE | DX Units >= 5.42 Tons | DX Units >= 5.42 Tons | FALSE | 50 | 100 | Subcontractor Reported | Cool EER-SEER | TRUE | 2021-01-01 | 2029-12-31 | DX Units >= 5.42 Tons | [11 empty] | FALSE | 0.9 |  |  | 10.8 |  |  | RTUS | XX | [7 empty] | 140 |  | 11.1 |  |  |  | 12.1 |  |  |  |  | 11 |  | 20 | 11.25 | MN | 0 | Cool EER-SEER | [5 empty] | 012U00000005Fg4IAE | Cool EER-SEER |  | DX Units >= 5.42 Tons | Subcontractor Reported |  | FALSE | FALSE | TRUE | a20U0000000CkoXIAS | 20 | 20 | Cool EER-SEER | Cool EER-SEER | PMA-053762 | 2017-01-01 | 2021-01-01 | 2029-12-31 | 2029-12-31
MN - RTUS - 20 - 63.33 tons |  | 4 | 3 | <img alt="User-added image" src="/servlet/servlet.ImageServer?id=01518000000swbn&amp;oid=00D180000002NKL"></img> | 0.1 | 0 | 0 | 0 | 0 | FALSE | TRUE | FALSE | DX Units >= 5.42 Tons | DX Units >= 5.42 Tons | FALSE | 50 | 100 | Subcontractor Reported | Cool EER-SEER | TRUE | 2017-01-01 | 2020-12-31 | DX Units >= 5.42 Tons | [11 empty] | FALSE | 0.9 |  |  | 9.8 |  |  | RTUS | XX | [7 empty] | 189 |  | 10.9 |  |  |  | 12 |  |  |  |  | 9.9 |  | 63.34 | 20 | MN | 0 | Cool EER-SEER | [5 empty] | 012U00000005Fg4IAE | Cool EER-SEER |  | DX Units >= 5.42 Tons | Subcontractor Reported |  | FALSE | FALSE | TRUE | a20U0000000CkoXIAS | 20 | 20 | Cool EER-SEER | Cool EER-SEER | PMA-053762 | 2017-01-01 | 2017-01-01 | 2029-12-31 | 2020-12-31
MN - RTUS - 63.34 tons and above |  | 4 | 3 | <img alt="User-added image" src="/servlet/servlet.ImageServer?id=01518000000swbn&amp;oid=00D180000002NKL"></img> | 0.1 | 0 | 0 | 0 | 0 | FALSE | TRUE | FALSE | DX Units >= 5.42 Tons | DX Units >= 5.42 Tons | FALSE | 50 | 100 | Subcontractor Reported | Cool EER-SEER | TRUE | 2021-01-01 | 2029-12-31 | DX Units >= 5.42 Tons | [11 empty] | FALSE | 0.9 |  |  | 9.5 |  |  | RTUS | XX | [7 empty] | 110 |  | 10.9 |  |  |  | 12 |  |  |  |  | 9.6 |  | 300 | 63.34 | MN | 0 | Cool EER-SEER | [5 empty] | 012U00000005Fg4IAE | Cool EER-SEER |  | DX Units >= 5.42 Tons | Subcontractor Reported |  | FALSE | FALSE | TRUE | a20U0000000CkoXIAS | 20 | 20 | Cool EER-SEER | Cool EER-SEER | PMA-053762 | 2017-01-01 | 2021-01-01 | 2029-12-31 | 2029-12-31